## Healthcare_Energy_Questionnaire
Enumerator's name | Do you give consent to proceed with this survey? | GPS location | _GPS location_latitude | _GPS location_longitude | _GPS location_altitude | _GPS location_precision | How far is the facility from the distribution lines of the grid? (in km) | What is the name of the facility? | Facility ID | In which region is the facility located? | In which district is the facility located? | What type of facility is this? | What type of facility is this? | What is the managing authority of the facility? | What is the managing authority of the facility? | Is the facility located in an urban or rural area? | Is the facility outpatient only? | Is there a 24/7 maternity ward? | What is the catchment population size of the facility? | What is the catchment area of the facility? | On average, how many patients visit the facility per day? | How does the patient population vary over the year? Is there a busy season/which season is the busiest? | How does the patient population vary over the year? Is there a busy season/which season is the busiest?/Hot & Wet Season (November - April) | How does the patient population vary over the year? Is there a busy season/which season is the busiest?/Cool & Dry Season (May - August) | How does the patient population vary over the year? Is there a busy season/which season is the busiest?/Hot & Dry Season (September - October) | How does the patient population vary over the year? Is there a busy season/which season is the busiest?/No significant variation | How does the patient population vary over the year? Is there a busy season/which season is the busiest?/Don't know | Which days of the week is the facility open to patients? | Which days of the week is the facility open to patients?/Monday | Which days of the week is the facility open to patients?/Tuesday | Which days of the week is the facility open to patients?/Wednesday | Which days of the week is the facility open to patients?/Thursday | Which days of the week is the facility open to patients?/Friday | Which days of the week is the facility open to patients?/Saturday | Which days of the week is the facility open to patients?/Sunday | Which days of the week is the facility open to patients?/Don't know | Which days are the busiest per week on average? | Which days are the busiest per week on average?/Monday | Which days are the busiest per week on average?/Tuesday | Which days are the busiest per week on average?/Wednesday | Which days are the busiest per week on average?/Thursday | Which days are the busiest per week on average?/Friday | Which days are the busiest per week on average?/Saturday | Which days are the busiest per week on average?/Sunday | Which days are the busiest per week on average?/Don't know | On average, how many hours per day is this facility open? | How long do outpatients stay in the clinic on average? (hours) | How long is the average consultation? | How do patients get to the clinic? | How do patients get to the clinic?/Foot | How do patients get to the clinic?/Bicycle | How do patients get to the clinic?/Car (private/taxi) | How do patients get to the clinic?/Bus (public transport) | How do patients get to the clinic?/Shuttle (facility-provided) | How do patients get to the clinic?/Motorbike | How do patients get to the clinic?/Oxcart | How do patients get to the clinic?/Other (specify) | On average, for how many hours during the evening (after 6 p.m.) and night is the facility open for services? | On average, for how many hours during the evening (after 6 p.m.) and night is electricity available at the health facility? | On average, how many nights per month is a patient treated? (after 6 p.m.) | On average, how many nights (after 6 p.m.) per month is a patient treated without adequate lighting? | Does your facility have electricity from any source (e.g. grid, generator, solar, or other)? | What is the electricity used for in the facility? | What is the electricity used for in the facility?/Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) | What is the electricity used for in the facility?/Electric lighting (excluding flashlights) | What is the electricity used for in the facility?/Staff housing | What is the electricity used for in the facility?/Communications | What is the electricity used for in the facility?/Device charging | What is the electricity used for in the facility?/Water Pumps | What is the electricity used for in the facility?/Heating, Ventilation, and Air Conditioning (HVAC) | What is the electricity used for in the facility?/Security and Safety (security cameras, alarms, fire detection systems) | What is the electricity used for in the facility?/Other (specify) | If the facility has electricity, what is its main source? Note: This means the electricity source that you rely upon most of the time. | Other than the main or primary source, does the facility have a backup source of electricity? | What is the secondary source of electricity? | What is the secondary source of electricity?/No back-up source | What is the secondary source of electricity?/Central supply electricity grid | What is the secondary source of electricity?/Local mini-grid (i.e., the facility shares electricity supply, typically a renewable source or a generator, with other nearby buildings) Specify the supply modality if known. | What is the secondary source of electricity?/On-site hybrid solar/generator | What is the secondary source of electricity?/On-site solar system (except lanterns) | What is the secondary source of electricity?/On-site generator (with battery storage) | What is the secondary source of electricity?/On-site generator (no battery storage) | What is the secondary source of electricity?/Dedicated hydropower system | What is the secondary source of electricity?/Dedicated wind power system | What is the secondary source of electricity?/Solar lanterns | What is the secondary source of electricity?/Other (Specify) | Does the facility have an energy storage system like a rechargeable battery system? | If you have both a primary and a secondary/backup source, do you have an energy management system to switch automatically? | Does the facility ever experience complete power loss? | If the whole facility has no electricity, what is do you use as a lighting source? | If the whole facility has no electricity, what is do you use as a lighting source?/No source of lighting | If the whole facility has no electricity, what is do you use as a lighting source?/Kerosene lamps | If the whole facility has no electricity, what is do you use as a lighting source?/Candles | If the whole facility has no electricity, what is do you use as a lighting source?/Battery-operated lamps/flashlights | If the whole facility has no electricity, what is do you use as a lighting source?/Solar lanterns | If the whole facility has no electricity, what is do you use as a lighting source?/Headlamps | If the whole facility has no electricity, what is do you use as a lighting source?/Other (Specify) | Is the generator functional? | Does the generator have fuel available today? | Does the generator have fuel available today?/Yes | Does the generator have fuel available today?/Petrol | Does the generator have fuel available today?/Diesel | Does the generator have fuel available today?/No | Does the generator have fuel available today?/Don't know | Is the grid functional? | In recent times, how often was there a power outage? | In the case of a grid power outage, how many hours does it last on average? | When are supply interruptions most common? | Does the facility usually face a problem of low voltage or voltage fluctuations from the main source? | Have voltage fluctuations damaged equipment in the past year? | If you use electricity from the grid, did you have sufficient funds available for paying your electricity bills in the last two months? | If you use electricity from the grid, who pays the electricity bill for the health clinic? | If you use electricity from the grid, who pays the electricity bill for the health clinic?/MoH/DHO with additional budget | If you use electricity from the grid, who pays the electricity bill for the health clinic?/Donor | If you use electricity from the grid, who pays the electricity bill for the health clinic?/Health facility baseline budget | If you use electricity from the grid, who pays the electricity bill for the health clinic?/Health facility comittee | If you use electricity from the grid, who pays the electricity bill for the health clinic?/Staff for their own housing | If you use electricity from the grid, who pays the electricity bill for the health clinic?/Patients | If you use electricity from the grid, who pays the electricity bill for the health clinic?/Don’t know | If you use electricity from the grid, who pays the electricity bill for the health clinic?/Other (Specify) | If you use electricity from the grid, who pays the electricity bill for the health clinic?/No one | Over the last two months, did you have sufficient funds available for fuel for the stand-alone generator to operate at all times when it was needed? | Who pays for generator fuel? | Who pays for generator fuel?/MoH/DHO with additional budget | Who pays for generator fuel?/Donor | Who pays for generator fuel?/Health facility baseline budget | Who pays for generator fuel?/Health facility comittee | Who pays for generator fuel?/Staff | Who pays for generator fuel?/Patients | Who pays for generator fuel?/Don’t know | Who pays for generator fuel?/Other (Specify) | Who pays for generator fuel?/No one | Over the last year, did you have sufficient funds available to keep the solar panels functional? | If you use a solar energy-based electricity solution, who pays for light bulbs and solar parts replacement? | If you use a solar energy-based electricity solution, who pays for light bulbs and solar parts replacement?/MoH/DHO with additional budget | If you use a solar energy-based electricity solution, who pays for light bulbs and solar parts replacement?/Donor | If you use a solar energy-based electricity solution, who pays for light bulbs and solar parts replacement?/Health facility baseline budget | If you use a solar energy-based electricity solution, who pays for light bulbs and solar parts replacement?/Health facility comittee | If you use a solar energy-based electricity solution, who pays for light bulbs and solar parts replacement?/Staff | If you use a solar energy-based electricity solution, who pays for light bulbs and solar parts replacement?/Patients | If you use a solar energy-based electricity solution, who pays for light bulbs and solar parts replacement?/Don’t know | If you use a solar energy-based electricity solution, who pays for light bulbs and solar parts replacement?/Other (Specify) | If you use a solar energy-based electricity solution, who pays for light bulbs and solar parts replacement?/No one | Is preventive maintenance carried out for any of the energy systems? | Is there a designated staff member trained in managing or troubleshooting any part of the energy system? | Is the current electricity system sufficient for your current needs? | Do you expect your electricity needs to increase in the next 12 months? | Are there plans to upgrade or expand the electricity system? | What kind of upgrade is planned? | What kind of upgrade is planned?/Central supply (national/community grid) | What kind of upgrade is planned?/Local mini-grid | What kind of upgrade is planned?/On-site hybrid solar/generator | What kind of upgrade is planned?/On-site generator (with battery storage) | What kind of upgrade is planned?/On-site generator (no battery storage) | What kind of upgrade is planned?/On-site solar system (except lanterns) | What kind of upgrade is planned?/Dedicated hydropower system | What kind of upgrade is planned?/Dedicated wind power system | What kind of upgrade is planned?/Rechargeable battery system | What kind of upgrade is planned?/Solar lanterns | What kind of upgrade is planned?/Other (Specify) | Have you observed any changes in weather or climate over the past few years? | Have you observed any changes in weather or climate over the past few years?/No | Have you observed any changes in weather or climate over the past few years?/Increased temperatures | Have you observed any changes in weather or climate over the past few years?/Heatwaves | Have you observed any changes in weather or climate over the past few years?/More frequent storms | Have you observed any changes in weather or climate over the past few years?/Flooding | Have you observed any changes in weather or climate over the past few years?/Longer dry periods | Have you observed any changes in weather or climate over the past few years?/Other (specify) | Have changes in climate or weather events affected the operations at your facility? | What parts of facility operations have been most affected by extreme weather events? | What parts of facility operations have been most affected by extreme weather events?/Temporary increases in patients due to more malaria in the rainy season | What parts of facility operations have been most affected by extreme weather events?/Temporary increases in patients due to malnutrition in long dry seasons | What parts of facility operations have been most affected by extreme weather events?/Temporary increases in patients in cold, dry seasons due to dust in the air, causing cough | What parts of facility operations have been most affected by extreme weather events?/Temporary decreases in facility accessibility due to floods | What parts of facility operations have been most affected by extreme weather events?/Temporary decreases in facility accessibility due to wild fires | What parts of facility operations have been most affected by extreme weather events?/Temporary decreases in facility accessibility due to storms/cyclones | What parts of facility operations have been most affected by extreme weather events?/Injuries because of storms/cyclones/lightnings | What parts of facility operations have been most affected by extreme weather events?/Damage to infrastructure or energy systems or equipment because of storms/cyclones/lightnings | What parts of facility operations have been most affected by extreme weather events?/Grid is less reliable during dry seasons | What parts of facility operations have been most affected by extreme weather events?/Decreased water availability | What parts of facility operations have been most affected by extreme weather events?/Migration to/from the region due to weather/environment | What parts of facility operations have been most affected by extreme weather events?/People not seeking care due to power outages | What parts of facility operations have been most affected by extreme weather events?/Delayed care-seeking due to transportation issues | What parts of facility operations have been most affected by extreme weather events?/Reduced ability to refer patients to other facilities due to weather | What parts of facility operations have been most affected by extreme weather events?/Rooms too hot so doors have to be opened, affects privacy | What parts of facility operations have been most affected by extreme weather events?/Don't know | What parts of facility operations have been most affected by extreme weather events?/Other (specify) | Based on your current knowledge, what or who is the cause of climate change? | In your opinion, is climate change affecting your community or the way health services are delivered? | Is there a water source available? | What does the water source of the facility look like? | What does the water source of the facility look like?/Piped | What does the water source of the facility look like?/Public tap | What does the water source of the facility look like?/Standpipe | What does the water source of the facility look like?/Tubewell/Borehole | What does the water source of the facility look like?/Protected Dug Well | What does the water source of the facility look like?/Protected Spring | What does the water source of the facility look like?/Rain Water | What does the water source of the facility look like?/None | Where is the water source located? | Is there a separate, private consultation room available? | Can a normal conversation be held in the consultation room without being overheard? | Is there a toilet/latrine available for clients? | What does the toilet/latrine look like? | What does the toilet/latrine look like?/Flush/pour flush to piped sewer system or septic tank or pit latrine | What does the toilet/latrine look like?/pit latrine (ventilated improved pit (VIP) or other) with slab | What does the toilet/latrine look like?/composting toilet | What does the toilet/latrine look like?/None | Are there adequate sanitation facilities available on premises for clients? | What functioning communication equipment is available? | What functioning communication equipment is available?/Private cell phone (reimbursed by facilitiy) | What functioning communication equipment is available?/Private cell phone | What functioning communication equipment is available?/Facility cell phone | What functioning communication equipment is available?/Other phone | What functioning communication equipment is available?/SW radio | Is there a functioning facility computer available? | Does the computer have access to working internet? (day of survey) | Is there an emergency transportation vehicle available for clients? | Adult Scale | Child Scale (250g steps min) | Thermometer | Stethoscope | Blood pressure apparatus | Light source (Spotlight/flashlight for examinations) | How are sharps disposed of? | Are unprotected sharps observed on site? | How is infectious waste disposed of? | Is unprotected infectious waste observed on site? | Is storage for sharps observed on site? | What does the storage for sharps look like? | What does the storage for sharps look like?/Puncture-resistant | What does the storage for sharps look like?/Rigid | What does the storage for sharps look like?/Leak-resistant | What does the storage for sharps look like?/Container to hold used sharps safely during collection, disposal and distruction | What does the storage for sharps look like?/Material: plastic | What does the storage for sharps look like?/Material: metal | What does the storage for sharps look like?/Material: cardboard | What does the storage for sharps look like?/Closeable | What does the storage for sharps look like?/For sharps of all standard sizes | What does the storage for sharps look like?/Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | What does the storage for sharps look like?/Other (specify) | What does the storage for sharps look like?/None | Where was the storage for sharps observed? | Where was the storage for sharps observed?/General OPD | Where was the storage for sharps observed?/HIV testing area | Where was the storage for sharps observed?/Surgery area | Where was the storage for sharps observed?/Other (specify) | Where was the storage for sharps observed?/None | Is there appropriate storage for infectious waste? (Waste receptacle (pedal bin) with lid and plastic bin liner) | Is there disinfectant available anywhere in the facility? (Chlorine-based or other country specific used for environmental disinfection) | Are there Single use —standard disposable or auto-disable syringes available anywhere in the facility? | How are instruments sterilized? | How are instruments sterilized?/Electrical autoclave | How are instruments sterilized?/Pressure pot boiling | How are instruments sterilized?/Glutaraldehyde | How are instruments sterilized?/Peracetic-acid / hydrogen-peroxide solutions | How are instruments sterilized?/Other (specify) | How are instruments sterilized?/None | Where is Soap and running water or alcohol based hand rub available in the facilitiy? | Where is Soap and running water or alcohol based hand rub available in the facilitiy?/General OPD | Where is Soap and running water or alcohol based hand rub available in the facilitiy?/HIV testing area | Where is Soap and running water or alcohol based hand rub available in the facilitiy?/Basic obstetric area | Where is Soap and running water or alcohol based hand rub available in the facilitiy?/Newborn care area | Where is Soap and running water or alcohol based hand rub available in the facilitiy?/Surgery area | Where is Soap and running water or alcohol based hand rub available in the facilitiy?/Other (specify) | Where is Soap and running water or alcohol based hand rub available in the facilitiy?/None | Where are Latex gloves available in the facilitiy? (If equivalent non latex gloves are available this is acceptable.) | Where are Latex gloves available in the facilitiy? (If equivalent non latex gloves are available this is acceptable.)/General OPD | Where are Latex gloves available in the facilitiy? (If equivalent non latex gloves are available this is acceptable.)/HIV testing area | Where are Latex gloves available in the facilitiy? (If equivalent non latex gloves are available this is acceptable.)/Basic obstetric area | Where are Latex gloves available in the facilitiy? (If equivalent non latex gloves are available this is acceptable.)/Newborn care area | Where are Latex gloves available in the facilitiy? (If equivalent non latex gloves are available this is acceptable.)/Surgery area | Where are Latex gloves available in the facilitiy? (If equivalent non latex gloves are available this is acceptable.)/Other (specify) | Where are Latex gloves available in the facilitiy? (If equivalent non latex gloves are available this is acceptable.)/None | Are there guidelines for standard precautions available anywhere in the facility? | Haemoglobin (This may include colorimeter OR haemoglobinometer OR hemocue.) | Blood glucose (Glucometer and glucometer test strips) | Malaria diagnostic capacity (RDT kit or smear with microscope, slides, and Wright Giemsa stain) | Urine dipstick- protein (Dipsticks for urine protein (with valid expiration date)) | Urine dipstick- glucose (Dipsticks for urine glucose (with valid expiration date)) | HIV diagnostic capacity (RDT kit or ELISA test with ELISA washer, ELISA reader, incubator, specific assay kit) | Syphilis rapid test (RDT kit) | Urine test for pregnancy (RDT kit) | Amlodipine tablet or alternative calcium channel blocker | Amoxicillin syrup/suspension or dispersible tablet | Amoxicillin tablet (Respiratory antibiotic) | Ampicillin powder for injection | Aspirin cap/tab | Beclometasone inhaler | Beta blocker (e.g.bisoprolol, metoprolol, carvedilol, atenolol) | Carbamazepine tablet | Ceftriaxone injection (2nd line injectable antibiotic) | Diazepam injection | Enalapril tablet or alternative ACE inhibitor e.g. lisinopril, ramipril, perindopril | Fluoxetine tablet | Gentamicin injection | Glibenclamide tablet (Oral treatment type 2 diabetes) | Haloperidol tablet | Insulin regular injection | Magnesium sulphate injectable | Metformin tablet | Omeprazole tablet or alternative such as pantoprazole, rabeprazole (Gastro-esophogeal reflux) | Oral rehydration solution | Oxytocin injection | Salbutamol inhaler (Chronic asthma attacks) | Simvastatin tablet or other statin e.g. atorvastatin, pravastatin, fluvastatin (High cholesterol) | Thiazide (e.g. hydrochlorothiazide) | Zinc sulphate tablets, dispersible tablets or syrup | Thank you for your time. The survey is now finished.This space allows you to add anything you think should be mentioned. | _uuid
Gian Teufen | Yes | -12.0030856 34.0495843 0 0 | -12.0031 | 34.0496 | 0 | 0 | 0 | Kachere Health Centre | 7 | North | Nkhata Bay | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | -99 | -99 | 101-200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Monday Wednesday Friday | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 8 | 1-2 hours | 5-15 minutes | Foot Bicycle Car (private/taxi) Motorbike | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | Never open after 6 p.m | 8 to 14 hours | 30 | 0 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Communications Device charging Water Pumps Heating, Ventilation, and Air Conditioning (HVAC) Security and Safety (security cameras, alarms, fire detection systems) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Central supply (national/community grid) | Yes | On-site solar system (except lanterns) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Yes | No, a manual startup is needed | Yes | Battery-operated lamps/flashlights | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [7 empty] | Yes | Every day | 7 | Daytime (before dark) | Yes | No | Yes | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | No | MoH/DHO with additional budget Health facility comittee | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Never | No | No |  | No | [12 empty] | Increased temperatures Longer dry periods | 0 | 1 | 0 | 0 | 0 | 1 | 0 | Yes, significantly | Other (specify) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Both human and natural causes | Yes, significantly | Yes | Piped Tubewell/Borehole | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Inside facility | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | Yes | Private cell phone | 0 | 1 | 0 | 0 | 0 | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Incinerator (functioning & fuel available) | Yes | Incinerator (functioning & fuel available) | No | Yes | Puncture-resistant Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Surgery area | 1 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | [7 empty] | General OPD HIV testing area Newborn care area Surgery area | 1 | 1 | 0 | 1 | 1 | 0 | 0 | General OPD HIV testing area Newborn care area Surgery area | 1 | 1 | 0 | 1 | 1 | 0 | 0 | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | Yes | No | No | No | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes |  | c5b1e709-42e3-4152-bb7f-5001b148cf63
Gian Teufen | Yes | -12.1895288 34.0157358 0 0 | -12.1895 | 34.0157 | 0 | 0 | 0 | Liuzi Health Centre | 8 | North | Nkhata Bay | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | -99 | -99 | 51-100 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Monday | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 4-6 hours | 5-15 minutes | Foot Motorbike | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Never open after 6 p.m | 8 to 14 hours | 25 | 0 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Communications Device charging Water Pumps Heating, Ventilation, and Air Conditioning (HVAC) Security and Safety (security cameras, alarms, fire detection systems) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Central supply (national/community grid) | Yes | On-site solar system (except lanterns) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Yes | No, a manual startup is needed | Yes | No source of lighting | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | Yes | Multiple times a day | 12 | Daytime (before dark) | Yes | No | Yes | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | Yes | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Never | No | Yes | Yes | Yes | Central supply (national/community grid) On-site solar system (except lanterns) | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Increased temperatures | 0 | 1 | 0 | 0 | 0 | 0 | 0 | No | [18 empty] | Human activities (e.g. burning fossil fuels, deforestation) | Yes, to some extent | Yes | Tubewell/Borehole | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Outside, within grounds | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | Yes | Private cell phone | 0 | 1 | 0 | 0 | 0 | Yes | No | No | Yes | Yes | Yes | Yes | Yes | No | incinerator open_burning | Yes | incinerator open_burning | No | No | Puncture-resistant Container to hold used sharps safely during collection, disposal and distruction Material: cardboard For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | General OPD HIV testing area Other (specify) | 1 | 1 | 0 | 1 | 0 | Yes | No | Yes | [7 empty] | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | Yes | No | No | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | No | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes |  | b8b75bf7-1b25-472f-8f49-f1c633e0db6e
Gian Teufen | Yes | -11.854059 34.018411 0 0 | -11.8541 | 34.0184 | 0 | 0 | 15 | Tchesamu Health Centre | 9 | North | Nkhata Bay | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 7321 | -99 | 21-50 patients | Cool & Dry Season (May - August) | 0 | 1 | 0 | 0 | 0 | Monday Tuesday Wednesday Friday | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | Monday | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1-2 hours | 5-15 minutes | Foot Bicycle Motorbike Other (specify) | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | Never open after 6 p.m | 8 to 14 hours | 7 | 0 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Communications Device charging Water Pumps | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | On-site solar system (except lanterns) | No | [12 empty] | Yes |  | No | [43 empty] | No | MoH/DHO with additional budget Health facility comittee Staff | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | Never | No | No |  | Yes | On-site solar system (except lanterns) Rechargeable battery system | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | No | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | Human activities (e.g. burning fossil fuels, deforestation) | No | No | [10 empty] | Yes | Yes | No | [5 empty] | No | Private cell phone | 0 | 1 | 0 | 0 | 0 | Yes | No | No | Yes | Yes | Yes | Yes | Yes | No | Incinerator (functioning & fuel available) | No | Incinerator (functioning & fuel available) | No | Yes | Puncture-resistant Container to hold used sharps safely during collection, disposal and distruction Material: plastic Material: metal Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Other (specify) | 1 | 1 | 0 | 1 | 0 | Yes | Yes | Yes | [7 empty] | None | 0 | 0 | 0 | 0 | 0 | 0 | 1 | General OPD HIV testing area Basic obstetric area Newborn care area | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | Yes | No | Yes | No | No | No | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | In the "dry & cold season", people are more often ill because of cough from flu and more dust | ad18b7e4-7ee7-4188-a24e-8838b2d0b73c
Gian Teufen | Yes | -11.2225238 34.1231033 0 0 | -11.2225 | 34.1231 | 0 | 0 | 0 | Bula Health Centre | 10 | North | Nkhata Bay | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 10773 | -99 | 51-100 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday Saturday | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Monday Tuesday Wednesday | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 8 | 1-2 hours | 5-15 minutes | Foot Bicycle Motorbike | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | Never open after 6 p.m | 8 to 14 hours | 21 | 0 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Communications Device charging | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | Central supply (national/community grid) | Yes | On-site solar system (except lanterns) Solar lanterns | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | Multiple | No, a manual startup is needed | No | [15 empty] | Yes | Every week | 12 | Daytime (before dark) | Yes | Some equipment damaged | Yes | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | No | No one | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Routinely | No | Yes | No | Don't know | [12 empty] | Increased temperatures Longer dry periods | 0 | 1 | 0 | 0 | 0 | 1 | 0 | Yes, somewhat | Temporary increases in patients due to more malaria in the rainy season Decreased water availability | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Both human and natural causes | Yes, to some extent | Yes | Piped | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Inside facility | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | Yes | Private cell phone | 0 | 1 | 0 | 0 | 0 | Yes | Yes | Yes; access to vehicle near facility, routinely available, with fuel | Yes | Yes | Yes | Yes | Yes | Yes | Open burning in unprotected area | No | Open burning in unprotected area | No | Yes | Puncture-resistant Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Surgery area | 1 | 1 | 1 | 0 | 0 | No | Yes | Yes | [7 empty] | General OPD HIV testing area Newborn care area Surgery area | 1 | 1 | 0 | 1 | 1 | 0 | 0 | General OPD HIV testing area Newborn care area Surgery area | 1 | 1 | 0 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | Yes | No | Yes | No | No | No | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes |  | a8ab5d90-6c0b-4285-aad2-419778096a3c
Gian Teufen | Yes | -11.660034 33.80076 0 0 | -11.66 | 33.8008 | 0 | 0 | 1 | Nthungwa Health Centre | 11 | North | Nkhata Bay | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | -99 | -99 | 51-100 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday Saturday | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Monday Tuesday Wednesday | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 8 | <1 hour | <5 minutes | Foot Car (private/taxi) Motorbike Oxcart | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | Never open after 6 p.m | 8 to 14 hours | 7 | 4 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Communications Device charging Water Pumps Heating, Ventilation, and Air Conditioning (HVAC) | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | On-site solar system (except lanterns) | No | [12 empty] | Yes |  | Yes | Battery-operated lamps/flashlights | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [35 empty] | No | MoH/DHO with additional budget Health facility comittee | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Sometimes but not routinely | No | No |  | Yes | Central supply (national/community grid) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Increased temperatures Longer dry periods | 0 | 1 | 0 | 0 | 0 | 1 | 0 | Yes, somewhat | Temporary increases in patients due to more malaria in the rainy season Temporary increases in patients due to malnutrition in long dry seasons Injuries because of storms/cyclones/lightnings Delayed care-seeking due to transportation issues Other (specify) | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | Both human and natural causes | Yes, to some extent | Yes | Piped Protected Spring | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Inside facility | Yes | Yes | Yes | Flush/pour flush to piped sewer system or septic tank or pit latrine pit latrine (ventilated improved pit (VIP) or other) with slab | 1 | 1 | 0 | 0 | Yes | Private cell phone | 0 | 1 | 0 | 0 | 0 | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Open burning in unprotected area | No | Open burning in unprotected area | No | Yes | Puncture-resistant Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Other (specify) | 1 | 1 | 0 | 1 | 0 | Yes | Yes | Yes | [7 empty] | General OPD HIV testing area Newborn care area Other (specify) | 1 | 1 | 0 | 1 | 0 | 1 | 0 | General OPD HIV testing area Newborn care area Other (specify) | 1 | 1 | 0 | 1 | 0 | 1 | 0 | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | Yes | No | Yes | No | No | No | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes |  | 1a0a5979-c6f2-429d-8fdb-cda688d9e2fe
Gian Teufen | Yes | -11.939944 33.439347 0 0 | -11.9399 | 33.4393 | 0 | 0 | 0 | Manyamula Health Centre | 1 | North | Mzimba | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | -99 | -99 | 51-100 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday Saturday | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Monday Friday | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 10 | 1-2 hours | 5-15 minutes | Foot Bicycle Car (private/taxi) Motorbike Oxcart | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | Until 8 p.m | 8 to 14 hours | 20 | 0 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Communications Water Pumps | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Central supply (national/community grid) | Yes | On-site solar system (except lanterns) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Yes | No, a manual startup is needed | Don't know | [15 empty] | Yes | Every week | 8 | Daytime (before dark) | Yes | No | No | Health facility baseline budget | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | No | MoH/DHO with additional budget Health facility comittee | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Never | No | No |  | No | [12 empty] | Longer dry periods | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Yes, significantly | Temporary increases in patients due to malnutrition in long dry seasons | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Human activities (e.g. burning fossil fuels, deforestation) | Yes, significantly | Yes | Piped | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Inside facility | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | Yes | Private cell phone | 0 | 1 | 0 | 0 | 0 | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Incinerator (functioning & fuel available) | Yes | incinerator open_burning | Yes | Yes | Puncture-resistant Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Other (specify) | 1 | 1 | 0 | 1 | 0 | Yes | Yes | Yes | [7 empty] | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | Yes | No | Yes | Yes | No | No | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes |  | 618991e4-bf54-4963-bd60-c72d1a6deceb
Gian Teufen | Yes | -11.843274 33.800669 0 0 | -11.8433 | 33.8007 | 0 | 0 | 0 | Chikangawa Health Centre | 2 | North | Mzimba | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | -99 | -99 | 51-100 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday Saturday | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Monday Wednesday Thursday Friday Saturday | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 8 | 1-2 hours | 5-15 minutes | Foot Bicycle | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Never open after 6 p.m | 8 to 14 hours | 5 | 2 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Device charging Water Pumps | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | Central supply (national/community grid) | Yes | On-site solar system (except lanterns) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | No | No, a manual startup is needed | Yes | No source of lighting Candles Battery-operated lamps/flashlights | 1 | 0 | 1 | 1 | 0 | 0 | 0 | [7 empty] | Yes | Every day | 8 | Daytime (before dark) | Yes | No | Yes | Donor | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | No | Don’t know | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Sometimes but not routinely | No | No |  | Don't know | [12 empty] | Increased temperatures Heatwaves Longer dry periods | 0 | 1 | 1 | 0 | 0 | 1 | 0 | Yes, significantly | Temporary increases in patients due to more malaria in the rainy season Temporary increases in patients due to malnutrition in long dry seasons Decreased water availability | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Human activities (e.g. burning fossil fuels, deforestation) | Yes, significantly | Yes | Tubewell/Borehole | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Inside facility | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | No | Private cell phone (reimbursed by facilitiy) | 1 | 0 | 0 | 0 | 0 | Yes | No | No | Yes | Yes | Yes | Yes | Yes | No | Open burning in unprotected area | No | Open burning in unprotected area | Yes | Yes | Puncture-resistant Rigid Leak-resistant Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Other (specify) | 1 | 1 | 0 | 1 | 0 | Yes | Yes | Yes | [7 empty] | General OPD | 1 | 0 | 0 | 0 | 0 | 0 | 0 | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Unicef sponsored a solar system that only powers a vaccine fridge. They maintain the system but irregularly. The four big solar panels combined with storage could cover many more of the facilities needs. There is only backup lighting in the maternity ward which is 500m up the hill. Sometimes at night emergency patients need to be moved to maternety just to see. | b51c8b97-dfeb-40a0-b574-02fae56e26b3
Gian Teufen | Yes | -12.3593866 33.740005 0 0 | -12.3594 | 33.74 | 0 | 0 | 10 | Msese Health Centre | 3 | North | Mzimba | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 10436 | -99 | 101-200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday Saturday Sunday | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Monday Thursday Friday | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 8 | 2-4 hours | 5-15 minutes | Foot Motorbike | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Never open after 6 p.m | 8 to 14 hours | 30 | 0 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Communications Device charging Water Pumps | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | On-site solar system (except lanterns) | No | [12 empty] | Multiple |  | Don't know | [43 empty] | No | MoH/DHO with additional budget Health facility comittee | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Never | No | No |  | Yes | Other (Specify) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Longer dry periods | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Yes, significantly | Temporary increases in patients due to more malaria in the rainy season Temporary increases in patients due to malnutrition in long dry seasons Decreased water availability | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Human activities (e.g. burning fossil fuels, deforestation) | Yes, to some extent | Yes | Piped Tubewell/Borehole | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Inside facility | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | Yes | Private cell phone | 0 | 1 | 0 | 0 | 0 | Yes | Yes | No | Yes | Yes | No | Yes | Yes | No | Open burning in unprotected area | Yes | Open burning in unprotected area | Yes | No | Material: cardboard | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | General OPD | 1 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | [7 empty] | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | No | No | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes |  | 5daf1ec2-4be7-4670-a5c5-875506b31180
Gian Teufen | Yes | -12.2780579 33.6864907 0 0 | -12.2781 | 33.6865 | 0 | 0 | 0 | Hoho Health Centre | 4 | North | Mzimba | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 10621 | -99 | 101-200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday Saturday Sunday | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Monday Friday | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8 | 2-4 hours | 15-30 minutes | Foot Bicycle Car (private/taxi) Oxcart | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | Never open after 6 p.m | 5 to 8 hours | 15 | 1 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Communications Device charging Water Pumps | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | Central supply (national/community grid) | Yes | On-site solar system (except lanterns) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Multiple | Yes, automatic shift; but no efficiency optimization | Yes | Battery-operated lamps/flashlights Headlamps | 0 | 0 | 0 | 1 | 0 | 1 | 0 | [7 empty] | Yes | Every 2 days | 4 | Daytime (before dark) | Yes | No | Yes | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | No | Don’t know | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Never | No | Sometimes |  | No | [12 empty] | Increased temperatures More frequent storms | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Yes, somewhat | Temporary increases in patients due to more malaria in the rainy season Migration to/from the region due to weather/environment Delayed care-seeking due to transportation issues | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | Human activities (e.g. burning fossil fuels, deforestation) | Yes, significantly | Yes | Piped | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Outside, within grounds | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | Yes | Private cell phone (reimbursed by facilitiy) | 1 | 0 | 0 | 0 | 0 | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Open burning in unprotected area | No | Open burning in unprotected area | No | Yes | Material: cardboard Closeable | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | General OPD HIV testing area Surgery area | 1 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | [7 empty] | None | 0 | 0 | 0 | 0 | 0 | 0 | 1 | General OPD HIV testing area Basic obstetric area Newborn care area Surgery area | 1 | 1 | 1 | 1 | 1 | 0 | 0 | No | No | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | Yes | No | Yes | Yes | No | Yes | Yes | No | No | No | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  | 7e4fc66c-c886-4f25-88dc-4f70ce37d54a
Gian Teufen | Yes | -11.758025 33.555974 0 0 | -11.758 | 33.556 | 0 | 0 | 0 | Endindeni Health Centre | 5 | North | Mzimba | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 22946 | -99 | 101-200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday Saturday | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 8 | 2-4 hours | 5-15 minutes | Foot Bicycle | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Never open after 6 p.m | 8 to 14 hours | -99 | 0 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Communications Device charging Water Pumps | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Central supply (national/community grid) | Yes | On-site solar system (except lanterns) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Multiple | No, a manual startup is needed | No | [15 empty] | Yes | Every 2 days | 5 | Evening (after dark to midnight) | Yes | No | Yes | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | No | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Never | No | Yes | Yes | Don't know | [12 empty] | Increased temperatures Flooding Longer dry periods | 0 | 1 | 0 | 0 | 1 | 1 | 0 | Yes, somewhat | Temporary increases in patients due to more malaria in the rainy season Temporary increases in patients due to malnutrition in long dry seasons Temporary decreases in facility accessibility due to floods Migration to/from the region due to weather/environment | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Human activities (e.g. burning fossil fuels, deforestation) | Yes, to some extent | Yes | Tubewell/Borehole | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Outside, within grounds | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | Yes | Private cell phone Facility cell phone | 0 | 1 | 1 | 0 | 0 | Yes | Yes | No | No | Yes | Yes | Yes | Yes | No | Incinerator (functioning & fuel available) | Yes | Incinerator (functioning & fuel available) | No | Yes | Container to hold used sharps safely during collection, disposal and distruction Material: cardboard For sharps of all standard sizes | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | General OPD HIV testing area | 1 | 1 | 0 | 0 | 0 | Yes | Yes | Yes | [7 empty] | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | Yes | No | No | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | No | Yes | Yes | Yes | No | Yes | No | Yes | Yes | No | No | No | Yes | Yes | Yes | Yes | Yes | No | No | Yes |  | 523fce5c-9f4d-42c1-99b7-ff8839121048
Gian Teufen | Yes | -11.4973285 33.5488424 0 0 | -11.4973 | 33.5488 | 0 | 0 | 1 | Mtende Health Centre | 6 | North | Mzimba | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 16661 | -99 | 101-200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday Saturday | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Monday Friday | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8 | 1-2 hours | 5-15 minutes | Foot Motorbike Oxcart | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | Never open after 6 p.m | 8 to 14 hours | 30 | 0 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Communications Device charging Water Pumps | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | On-site solar system (except lanterns) | No | [12 empty] | Multiple |  | No | [43 empty] | No | MoH/DHO with additional budget Donor | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Never | No | No |  | No | [12 empty] | No | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | Human activities (e.g. burning fossil fuels, deforestation) | No | Yes | Tubewell/Borehole | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Outside, external | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | No | Private cell phone | 0 | 1 | 0 | 0 | 0 | No | No | Yes; access to vehicle near facility, routinely available, with fuel | No | Yes | Yes | Yes | Yes | Yes | Open burning in unprotected area | Yes | Open burning in unprotected area | Yes | Yes | Puncture-resistant Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area | 1 | 1 | 0 | 0 | 0 | Yes | Yes | Yes | [7 empty] | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | No | No | No | Yes | Yes | No | Yes | Yes | Yes | No | Yes | Yes | No | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes |  | 14de9080-382e-4d9c-bdc5-9561c4120896
Gian Teufen | Yes | -16.028675 35.261231 0 0 | -16.0287 | 35.2612 | 0 | 0 | 0 | Mangunda Health Centre | 12 | South | Thyolo | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 30102 | -99 | 101-200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Monday Wednesday Friday | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 8 | <1 hour | 5-15 minutes | Foot Bicycle Motorbike | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | Never open after 6 p.m | 8 to 14 hours | 8 | 4 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Communications Device charging Water Pumps Heating, Ventilation, and Air Conditioning (HVAC) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Central supply (national/community grid) | Yes | On-site solar system (except lanterns) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Yes | No, a manual startup is needed | Yes | Battery-operated lamps/flashlights Headlamps | 0 | 0 | 0 | 1 | 0 | 1 | 0 | [7 empty] | Yes | Every two weeks | 6 | Overnight (midnight to 8 a.m.) | Yes | Significant equipment damaged | Yes | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | No | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Routinely | No | No |  | No | [12 empty] | Increased temperatures Heatwaves More frequent storms Flooding Longer dry periods | 0 | 1 | 1 | 1 | 1 | 1 | 0 | Yes, significantly | Temporary increases in patients due to more malaria in the rainy season Temporary increases in patients due to malnutrition in long dry seasons Temporary increases in patients in cold, dry seasons due to dust in the air, causing cough Temporary decreases in facility accessibility due to floods Temporary decreases in facility accessibility due to storms/cyclones Injuries because of storms/cyclones/lightnings Damage to infrastructure or energy systems or equipment because of storms/cyclones/lightnings Delayed care-seeking due to transportation issues Reduced ability to refer patients to other facilities due to weather | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | Natural processes (e.g. volcanic activity, changes in solar radiation) | Yes, significantly | Yes | Piped | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Inside facility | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | Yes | Private cell phone (reimbursed by facilitiy) Private cell phone | 1 | 1 | 0 | 0 | 0 | Yes | No | No | Yes | Yes | Yes | Yes | Yes | No | Incinerator (functioning & fuel available) | No | Incinerator (functioning & fuel available) | No | Yes | Puncture-resistant Rigid Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Surgery area | 1 | 1 | 1 | 0 | 0 | No | Yes | Yes | [7 empty] | HIV testing area Basic obstetric area Newborn care area Surgery area | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Basic obstetric area Newborn care area Surgery area | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Yes | No | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes |  | b2dfe877-4e62-4475-93b4-4c2639f5ece7
Gian Teufen | Yes | -16.024753 35.289731 0 0 | -16.0248 | 35.2897 | 0 | 0 | 2 | Lomola Health Centre | 13 | South | Thyolo | Health centre/clinic |  | Government/Public |  | Rural | Yes | No | 19250 | -99 | 101-200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Monday Tuesday Friday | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 8 | 1-2 hours | 15-30 minutes | Foot Bicycle Motorbike | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | Never open after 6 p.m | Less than 1 hour | 0 | 0 | No | [26 empty] | Yes | Battery-operated lamps/flashlights | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [48 empty] | No |  | Yes | Central supply (national/community grid) On-site solar system (except lanterns) | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Increased temperatures | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Don’t know | [18 empty] | Human activities (e.g. burning fossil fuels, deforestation) | Yes, significantly | No | [10 empty] | Yes | Yes | Yes | Flush/pour flush to piped sewer system or septic tank or pit latrine pit latrine (ventilated improved pit (VIP) or other) with slab | 1 | 1 | 0 | 0 | Yes | Private cell phone | 0 | 1 | 0 | 0 | 0 | No | No | No | No | Yes | Yes | Yes | Yes | No | Incinerator (functioning & fuel available) | Yes | Incinerator (functioning & fuel available) | Yes | Yes | Material: cardboard For sharps of all standard sizes | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | General OPD | 1 | 0 | 0 | 0 | 0 | Yes | Yes | Yes | [7 empty] | General OPD | 1 | 0 | 0 | 0 | 0 | 0 | 0 | General OPD | 1 | 0 | 0 | 0 | 0 | 0 | 0 | No | Yes | Yes | Yes | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | No | No | No | No | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | The facility is still new and being set up | 63b684e0-9a55-45d3-88c4-d1a1c78937a6
Gian Teufen | Yes | -16.031992 35.304334 0 0 | -16.032 | 35.3043 | 0 | 0 | 2 | Thowera Health Centre | 14 | South | Thyolo | Health centre/clinic |  | Government/Public |  | Urban | Yes | No | 7629 | -99 | 51-100 patients | Don't know | 0 | 0 | 0 | 0 | 1 | Monday Tuesday Wednesday Thursday Friday | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Monday Friday | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 8 | 1-2 hours | 5-15 minutes | Foot Bicycle Car (private/taxi) Motorbike | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | Never open after 6 p.m | 8 to 14 hours | 4 | 0 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Communications Device charging Water Pumps | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | On-site solar system (except lanterns) | No | [12 empty] | Yes |  | No | [43 empty] | Don't know | MoH/DHO with additional budget Donor | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sometimes but not routinely | Partially | Yes | Yes | No | [12 empty] | Increased temperatures More frequent storms Flooding Longer dry periods | 0 | 1 | 0 | 1 | 1 | 1 | 0 | No | [18 empty] | Both human and natural causes | Yes, to some extent | Yes | Tubewell/Borehole | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Outside, within grounds | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | Yes | Private cell phone | 0 | 1 | 0 | 0 | 0 | No | No | No | Yes | Yes | Yes | Yes | Yes | No | Incinerator (functioning & fuel available) | No | Incinerator (functioning & fuel available) | No | Yes | Puncture-resistant Rigid Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD Other (specify) | 1 | 0 | 0 | 1 | 0 | No | No | Yes | [7 empty] | General OPD | 1 | 0 | 0 | 0 | 0 | 0 | 0 | General OPD Other (specify) | 1 | 0 | 0 | 0 | 0 | 1 | 0 | No | No | No | Yes | No | No | No | No | Yes | Yes | Yes | Yes | No | Yes | No | Yes | No | Yes | No | No | No | Yes | No | No | No | No | No | Yes | Yes | No | Yes | No | Yes | Yes |  | 7418fda0-8e34-4759-8b03-a3b5f6017cb7
Gian Teufen | Yes | -16.096662 35.271519 0 0 | -16.0967 | 35.2715 | 0 | 0 | 0 | Khonjeni Health Centre | 15 | South | Thyolo | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 40712 | -99 | >200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Monday Wednesday Friday | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 8 | 4-6 hours | 15-30 minutes | Foot Bicycle Motorbike | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | Never open after 6 p.m | 8 to 14 hours | 25 | 10 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Communications Device charging Water Pumps | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Central supply (national/community grid) | Yes | On-site solar system (except lanterns) On-site generator (no battery storage) | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | Yes | No, a manual startup is needed | Yes | Battery-operated lamps/flashlights | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Yes | No | 0 | 0 | 0 | 1 | 0 | Yes | Multiple times a day | 2 | Evening (after dark to midnight) | Yes | Some equipment damaged | Yes | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No | Health facility comittee | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | No | MoH/DHO with additional budget Donor Health facility comittee Staff | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | Sometimes but not routinely | No | No |  | No | [12 empty] | Flooding | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Yes, significantly | Temporary decreases in facility accessibility due to floods Decreased water availability Reduced ability to refer patients to other facilities due to weather | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Human activities (e.g. burning fossil fuels, deforestation) | Yes, significantly | Yes | Protected Dug Well | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Outside, within grounds | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | Yes | Private cell phone (reimbursed by facilitiy) Private cell phone | 1 | 1 | 0 | 0 | 0 | No | No | No | Yes | Yes | Yes | No | No | No | Incinerator (functioning & fuel available) | No | Incinerator (functioning & fuel available) | No | Yes | Puncture-resistant Rigid Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD | 1 | 0 | 0 | 0 | 0 | No | Yes | Yes | [7 empty] | General OPD HIV testing area Basic obstetric area Newborn care area | 1 | 1 | 1 | 1 | 0 | 0 | 0 | General OPD HIV testing area Basic obstetric area Newborn care area | 1 | 1 | 1 | 1 | 0 | 0 | 0 | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | Yes | No | Yes | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes |  | 1c5e3a02-0e3d-4ba8-a9a1-bf6e9163a792
Gian Teufen | Yes | -16.276216 35.196933 0 0 | -16.2762 | 35.1969 | 0 | 0 | 1 | Mapanga Health Centre | 16 | South | Thyolo | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 15307 | -99 | >200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Monday Friday | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 24 | <1 hour | 15-30 minutes | Foot Bicycle Motorbike | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | All night long | 8 to 14 hours | 30 | 30 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Communications Device charging Water Pumps | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | On-site solar system (except lanterns) | No | [12 empty] | Multiple |  | Yes | Battery-operated lamps/flashlights | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [35 empty] | No | MoH/DHO with additional budget Donor Health facility comittee Staff Other (Specify) | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | Sometimes but not routinely | No | No |  | Yes | Central supply (national/community grid) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Increased temperatures Flooding Longer dry periods | 0 | 1 | 0 | 0 | 1 | 1 | 0 | Yes, significantly | Temporary increases in patients due to more malaria in the rainy season Temporary increases in patients due to malnutrition in long dry seasons Temporary decreases in facility accessibility due to floods Temporary decreases in facility accessibility due to storms/cyclones Injuries because of storms/cyclones/lightnings Damage to infrastructure or energy systems or equipment because of storms/cyclones/lightnings Decreased water availability People not seeking care due to power outages Delayed care-seeking due to transportation issues Reduced ability to refer patients to other facilities due to weather Rooms too hot so doors have to be opened, affects privacy | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | Human activities (e.g. burning fossil fuels, deforestation) | Yes, significantly | Yes | Piped Standpipe | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Outside, within grounds | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | No | Private cell phone Facility cell phone | 0 | 1 | 1 | 0 | 0 | Yes | No | No | Yes | Yes | Yes | Yes | Yes | No | Incinerator (functioning & fuel available) | No | Incinerator (functioning & fuel available) | No | Yes | Puncture-resistant Rigid Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | General OPD HIV testing area Other (specify) | 1 | 1 | 0 | 1 | 0 | No | Yes | Yes | [7 empty] | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | General OPD HIV testing area Newborn care area | 1 | 1 | 0 | 1 | 0 | 0 | 0 | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes |  | 904dbc28-de0f-4975-b817-45ab2e8294a4
Gian Teufen | Yes | -16.232343 35.147414 0 0 | -16.2323 | 35.1474 | 0 | 0 | 0 | Changata Health Centre | 17 | South | Thyolo | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 23320 | -99 | >200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Monday Thursday | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 8 | 2-4 hours | 5-15 minutes | Foot Bicycle Motorbike | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | Never open after 6 p.m | 5 to 8 hours | 15 | 10 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Communications Device charging Water Pumps | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Central supply (national/community grid) | Yes | On-site solar system (except lanterns) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Yes | No, a manual startup is needed | Yes | Candles Battery-operated lamps/flashlights | 0 | 0 | 1 | 1 | 0 | 0 | 0 | [7 empty] | Yes | Every 3-4 to days | 2 | Evening (after dark to midnight) | Yes | No | Yes | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | No | MoH/DHO with additional budget Donor | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sometimes but not routinely | No | No |  | No | [12 empty] | Increased temperatures Heatwaves More frequent storms | 0 | 1 | 1 | 1 | 0 | 0 | 0 | Yes, significantly | Temporary increases in patients due to more malaria in the rainy season Temporary increases in patients in cold, dry seasons due to dust in the air, causing cough Temporary decreases in facility accessibility due to floods Temporary decreases in facility accessibility due to storms/cyclones Injuries because of storms/cyclones/lightnings Damage to infrastructure or energy systems or equipment because of storms/cyclones/lightnings Decreased water availability Migration to/from the region due to weather/environment People not seeking care due to power outages Delayed care-seeking due to transportation issues Reduced ability to refer patients to other facilities due to weather Rooms too hot so doors have to be opened, affects privacy | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Both human and natural causes | Yes, significantly | Yes | Piped | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Inside facility | Yes | No | Yes | Flush/pour flush to piped sewer system or septic tank or pit latrine pit latrine (ventilated improved pit (VIP) or other) with slab | 1 | 1 | 0 | 0 | Yes | Private cell phone (reimbursed by facilitiy) | 1 | 0 | 0 | 0 | 0 | Yes | Yes | No | Yes | Yes | Yes | No | No | No | Incinerator (functioning & fuel available) | No | Incinerator (functioning & fuel available) | No | Yes | Puncture-resistant Rigid Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Other (specify) | 1 | 1 | 0 | 1 | 0 | No | Yes | Yes | [7 empty] | General OPD HIV testing area Basic obstetric area Newborn care area Other (specify) | 1 | 1 | 1 | 1 | 0 | 1 | 0 | General OPD HIV testing area Newborn care area Other (specify) | 1 | 1 | 0 | 1 | 0 | 1 | 0 | Yes | No | No | Yes | No | No | Yes | Yes | No | No | Yes | Yes | No | Yes | No | No | Yes | Yes | No | Yes | No | Yes | Yes | No | Yes | No | Yes | Yes | No | Yes | Yes | No | Yes | Yes |  | 48e221c0-8db5-49cd-9558-f39b6c95d7fa
Gian Teufen | Yes | -15.9283864 35.077723 0 0 | -15.9284 | 35.0777 | 0 | 0 | 0 | Bvumbwe Health Centre | 18 | South | Thyolo | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 63139 | -99 | >200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Monday Wednesday | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 8 | <1 hour | 5-15 minutes | Foot Bicycle Car (private/taxi) Bus (public transport) Motorbike | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | Never open after 6 p.m | 8 to 14 hours | 25 | 2 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Communications Device charging Heating, Ventilation, and Air Conditioning (HVAC) | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | Central supply (national/community grid) | Yes | On-site solar system (except lanterns) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Yes | No, a manual startup is needed | Yes | Candles Headlamps | 0 | 0 | 1 | 0 | 0 | 1 | 0 | [7 empty] | Yes | Every two weeks | 2 | Overnight (midnight to 8 a.m.) | No |  | Yes | MoH/DHO with additional budget Donor | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | Yes | Donor | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sometimes but not routinely | No | Yes | Yes | No | [12 empty] | Increased temperatures Heatwaves Flooding | 0 | 1 | 1 | 0 | 1 | 0 | 0 | Yes, significantly | Temporary increases in patients due to more malaria in the rainy season Temporary increases in patients in cold, dry seasons due to dust in the air, causing cough Temporary decreases in facility accessibility due to storms/cyclones Injuries because of storms/cyclones/lightnings Damage to infrastructure or energy systems or equipment because of storms/cyclones/lightnings Decreased water availability Migration to/from the region due to weather/environment People not seeking care due to power outages Delayed care-seeking due to transportation issues Reduced ability to refer patients to other facilities due to weather Rooms too hot so doors have to be opened, affects privacy | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Both human and natural causes | Yes, significantly | Yes | Piped | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Inside facility | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | Yes | Private cell phone Facility cell phone | 0 | 1 | 1 | 0 | 0 | Yes | Yes | Yes; facility-owned, routinely available, with fuel | Yes | Yes | Yes | Yes | Yes | Yes | Open burning in protected area | No | Open burning in unprotected area | No | Yes | Puncture-resistant Rigid Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Surgery area | 1 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | [7 empty] | General OPD HIV testing area Basic obstetric area Newborn care area Surgery area | 1 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Basic obstetric area Newborn care area Surgery area | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | Yes | No | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes |  | 6870e6ff-50bb-4ec5-859e-bb760ea2d182
Till Häussner | Yes | -14.443674 35.355936 0 0 | -14.4437 | 35.3559 | 0 | 0 | 0 | Malukula HC | 20 | South | Mangochi | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 30203 | -99 | 101-200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday Saturday | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Monday Tuesday Thursday | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 6 | 4-6 hours | 5-15 minutes | Foot Bicycle Car (private/taxi) Motorbike | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | Never open after 6 p.m | 3 to 4 hours | 22 | 8 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Device charging Water Pumps Heating, Ventilation, and Air Conditioning (HVAC) | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | Central supply (national/community grid) | Yes | On-site solar system (except lanterns) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Yes | No, a manual startup is needed | Yes | Candles Battery-operated lamps/flashlights Headlamps | 0 | 0 | 1 | 1 | 0 | 1 | 0 | [7 empty] | Yes | Multiple times a day | 8 | Daytime (before dark) | Yes | Significant equipment damaged | Yes | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | No | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Never | No | No |  | No | [12 empty] | Increased temperatures Heatwaves More frequent storms Flooding Longer dry periods | 0 | 1 | 1 | 1 | 1 | 1 | 0 | Yes, somewhat | Temporary increases in patients due to more malaria in the rainy season Temporary increases in patients in cold, dry seasons due to dust in the air, causing cough Temporary decreases in facility accessibility due to floods Injuries because of storms/cyclones/lightnings Damage to infrastructure or energy systems or equipment because of storms/cyclones/lightnings Grid is less reliable during dry seasons Migration to/from the region due to weather/environment People not seeking care due to power outages Delayed care-seeking due to transportation issues Rooms too hot so doors have to be opened, affects privacy Other (specify) | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | Both human and natural causes | Yes, to some extent | Yes | Tubewell/Borehole | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Outside, within grounds | Yes | Yes | Yes | pit latrine (ventilated improved pit (VIP) or other) with slab | 0 | 1 | 0 | 0 | Yes | Other phone | 0 | 0 | 0 | 1 | 0 | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Incinerator (functioning & fuel available) | No | Incinerator (functioning & fuel available) | No | Yes | Puncture-resistant Rigid Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Surgery area Other (specify) | 1 | 1 | 1 | 1 | 0 | Yes | Yes | Yes | Electrical autoclave Pressure pot boiling | 1 | 1 | 0 | 0 | 0 | 0 | General OPD HIV testing area Basic obstetric area Newborn care area | 1 | 1 | 1 | 1 | 0 | 0 | 0 | General OPD HIV testing area Basic obstetric area Newborn care area Surgery area | 1 | 1 | 1 | 1 | 1 | 0 | 0 | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | Yes | No | Yes | No | No | No | Yes | Yes | No | No | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes |  | cd49f37c-79d1-4458-8e94-53e3fcba1179
Till Häussner | Yes | -14.611035 35.082376 0 0 | -14.611 | 35.0824 | 0 | 0 | 0 | Mtimabi HC | 19 | South | Mangochi | Health centre/clinic |  | Government/Public |  | Rural | Yes | Yes | 47571 | -99 | 101-200 patients | Hot & Wet Season (November - April) | 1 | 0 | 0 | 0 | 0 | Monday Tuesday Wednesday Thursday Friday Saturday | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Monday Tuesday Friday | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 8 | 2-4 hours | 15-30 minutes | Foot Bicycle Motorbike | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | Never open after 6 p.m | 5 to 8 hours | 30 | 15 | Yes | Stand-alone electric medical devices/appliances (e.g. EPUI cold room, suction apparatus, refrigerator, etc.) Electric lighting (excluding flashlights) Staff housing Communications Device charging Water Pumps Heating, Ventilation, and Air Conditioning (HVAC) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Local mini-grid (i.e., the facility shares electricity supply, typically a renewable source or a generator, with other nearby buildings) Specify the supply modality if known. | Yes | On-site solar system (except lanterns) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Yes | No, a manual startup is needed | Yes | Battery-operated lamps/flashlights Headlamps | 0 | 0 | 0 | 1 | 0 | 1 | 0 | [35 empty] | No | MoH/DHO with additional budget | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sometimes but not routinely | No | No |  | Yes | Central supply (national/community grid) On-site solar system (except lanterns) Rechargeable battery system | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | No | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | Human activities (e.g. burning fossil fuels, deforestation) | Yes, significantly | Yes | Piped Tubewell/Borehole | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Inside facility | Yes | Yes | Yes | Flush/pour flush to piped sewer system or septic tank or pit latrine pit latrine (ventilated improved pit (VIP) or other) with slab | 1 | 1 | 0 | 0 | Yes | Private cell phone | 0 | 1 | 0 | 0 | 0 | No | No | No | Yes | Yes | Yes | Yes | Yes | No | Open burning in protected area | No | Other (specify) | No | Yes | Puncture-resistant Rigid Container to hold used sharps safely during collection, disposal and distruction Material: cardboard Closeable For sharps of all standard sizes Clearly marked with intl. Biohazard warning no less than 50mm in diameter, printed in black or red on each of the front an back faces of the box | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Surgery area Other (specify) | 1 | 1 | 1 | 1 | 0 | Yes | Yes | Yes | Electrical autoclave Pressure pot boiling Glutaraldehyde | 1 | 1 | 1 | 0 | 0 | 0 | General OPD HIV testing area Basic obstetric area Newborn care area Surgery area | 1 | 1 | 1 | 1 | 1 | 0 | 0 | General OPD HIV testing area Basic obstetric area Newborn care area Surgery area | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Yes | No | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | Yes | No | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes |  | 467b81c4-5466-4fd7-b0b5-cbf4f8a7b4d9